## AR front page
All queries on the content of this workbook should be sent to:
water-company-plan@environment-agency.gov.uk
Environment Agency template version:
Updated 1 March 2024
WRMP Annual Review data return submission
Water company: | Cambridge Water
Reporting year of data submission | 2023/24
WRMP reporting against: | WRMP19 |  | Signed: | Daniel Clark | Dated: | 2024-06-26
Responsible Officer: | Daniel Clark
Version of data submission: | v2.0 |  |  | [Digital signature is acceptable]
Confirmation of quality checks and assurance undertaken as part of Annul Review data return
|  |  | Signed: |  | Dated: | 01/07/02024
QA checks have been passed for all resource zone and water company level supply-balance data provided |  |  |  | Victoria Lemmon
Data provided has been derived by following the guidance in the Annual Review technical guidance document |  |  |  | [Digital signature is acceptable]
Data provided has been assured and signed off by the appropriate governance group/individual
Data that has been provided is factually accurate and consistent with metrics reported through other performance assessment processes

## AR outturn data template
WRMP ANNUAL REVIEW DATA TEMPLATE - WATER BALANCE COMPONENTS
Water company: | Cambridge Water
Number of resource zones: | 1
Year of data submission: | 2023/24
Reporting against WRMP: | WRMP19 (with leakage forecast updated using the Ofwat convergent methodology)
Scenario: | Outturn
(Delete/insert columns appropriate to the number of resource zones)
Row numbering in line with WRMP structure | Component | Derivation and type of data | Units | DP | Data requirement | Resource zone 1 data | Water company total data | Page or section reference in AR narrative or report | Notes on data provided
SUPPLY
Resources
1AR | Raw water abstracted | Input outturn data | Ml/d | 2dp | Required | 87.78 | 87.78 | Section 3.1.1
2.1AR | Internal raw water imported (in the reporting year) | Input outturn data (Observed/recorded transfer volumes) | Ml/d | 2dp | Required | 0 | 0
3.1AR | Internal potable water imported (in the reporting year) | Input outturn data (Observed/recorded transfer volumes) | Ml/d | 2dp | Required | 0 | 0
5.2AR | Internal raw water exported (in the reporting year) | Input outturn data (Observed/recorded transfer volumes) | Ml/d | 2dp | Required | 0 | 0
6.1AR | Internal potable water exported (in the reporting year) | Input outturn data (Observed/recorded transfer volumes) | Ml/d | 2dp | Required | 0 | 0
2.2AR | External raw water imported (in the reporting year) | Input most challenging contractual volumes | Ml/d | 2dp | Required | 0 | 0
3.2AR | External potable water imported (in the reporting year) | Input most challenging contractual volumes | Ml/d | 2dp | Required | 0.082 | 0.082 | Section 3.8
5.3AR | External raw water exported (in the reporting year) | Input most challenging contractual volumes | Ml/d | 2dp | Required | 0 | 0
6.2AR | External potable water exported (in the reporting year) | Input most challenging contractual volumes | Ml/d | 2dp | If applicable | 0.54 | 0.54 | Section 3.8
5.1AR | Non potable water supplied | Input outturn data | Ml/d | 2dp | Required | 0 | 0
7AR | Deployable output (please include and reflect the changes to DO, the sum of 8.1, 8.2 and 8.3, in the WRMP19 tables) | Input dry year figure | Ml/d | 2dp | Required | 94.5 | 94.5 | Section 3.5
12AR | Water Available For Use (own sources) | (Deployable Output + changes to DO) - (Treatment works losses and operational use + outage experienced). | Ml/d | 2dp | Required | 85.65 | 85.65 | Section 3.6
13AR | Total Water Available For Use | WAFU own sources + (total water imported) - (total water exported). Total WAFU is based on external transfers reported as the most challenging scenario for contractual volumes as stated in Appendix 1 of the technical annex and internal transfers reported as outturn volumes. | Ml/d | 2dp | Required | 85.192 | 85.192 | Section 3.6
Process Losses
9AR | Raw water losses, treatment works losses and operational use | Input outturn data | Ml/d | 2dp | Required | 0.59 | 0.59 | Section 3.12
10AR | Total outage experienced | Input outturn data | Ml/d | 2dp | Required | 8.26 | 8.26 | Section 3.2
10.1AR | Unplanned outage | Input outturn data (10.1AR and 10.2AR should add together to make 10AR) | Ml/d | 2dp | Optional | 7.63 | 7.63 | Section 3.2
10.2AR | Planned outage | Input outturn data (10.1AR and 10.2AR should add together to make 10AR) | Ml/d | 2dp | Optional | 0.63 | 0.63 | Section 3.2
DEMAND
11AR | Distribution input (in reporting year) | Outturn data for: Total household and non-household consumption + water taken unbilled + distribution system operational losses + total leakage | Ml/d | 2dp | Required | 84.32 | 84.32 | Section 4.2
12.1AR | Non potable water demand/consumption | Input outturn data | Ml/d | 2dp | If applicable | 0 | 0
Consumption
23AR | Measured non household - consumption | Input outturn data | Ml/d | 2dp | Required | 27.7996 | 27.7996 | Section 4.2.4
24AR | Unmeasured non household - consumption | Input outturn data | Ml/d | 2dp | Required | 1.0311 | 1.0311 | Section 4.2.4
25AR | Measured household - consumption | Input outturn data | Ml/d | 2dp | Required | 29.5991 | 29.5991 | Section 4.2.2
26AR | Unmeasured household - consumption | Input outturn data | Ml/d | 2dp | Required | 12.7707 | 12.7707 | Section 4.2.2
29AR | Measured household - pcc | Outturn data: (Measured household consumption * 1,000,000) / (measured household population * 1,000) | l/h/d | 0dp | Required | 111.9774 | 111.9774 | Section 4.2.3
30AR | Unmeasured household - pcc | Outturn data: (Unmeasured household consumption * 1,000,000) / (Unmeasured household population * 1,000) | l/h/d | 0dp | Required | 141.0834 | 141.0834 | Section 4.2.3
31AR | Average household - pcc | Outturn data: (Measured and unmeasured household consumption * 1,000,000) / (measured and unmeasured household population * 1,000) | l/h/d | 0dp | Required | 119.4021 | 119.4021 | Section 4.2.3
32AR | Water taken unbilled | Input outturn data | Ml/d | 2dp | Required | 0.43024 | 0.43024 | Section 3.11
33AR | Distribution system operational use | Input outturn data | Ml/d | 2dp | Required | 0.39282 | 0.39282 | Section 3.12
Leakage
34AR | Measured non household - uspl | Input outturn data | Ml/d | 2dp | Required | 0.18214 | 0.18214 | Section 4.5
35AR | Unmeasured non-household - uspl | Input outturn data | Ml/d | 2dp | Required | 0.013717 | 0.013717 | Section 4.5
36AR | Measured household - uspl | Input outturn data | Ml/d | 2dp | Required | 2.5913 | 2.5913 | Section 4.5
37AR | Unmeasured household - uspl | Input outturn data | Ml/d | 2dp | Required | 0.91432 | 0.91432 | Section 4.5
38AR | Void properties - uspl | Input outturn data | Ml/d | 2dp | Required | 0.17633 | 0.17633 | Section 4.5
39AR | Distribution Losses | Input outturn data | Ml/d | 2dp | Required | 8.4137 | 8.4137 | Section 4.5
40AR | Total leakage | Outturn data: Total USPL + distribution losses | Ml/d | 2dp | Required | 12.2916 | 12.2916 | Section 4.5
CUSTOMERS
Properties
42AR | Measured non-household - properties | Input end of reporting year data | 000's | 3dp | Required | 8.1037 | 8.1037 | Section 4.3
43AR | Unmeasured non-household - properties | Input end of reporting year data | 000's | 3dp | Required | 0.46967 | 0.46967 | Section 4.3
44AR | Void non households - properties | Input end of reporting year data | 000's | 3dp | Required | 0.40608 | 0.40608 | Section 4.3
45AR | Measured household - properties (excl. voids) | Input end of reporting year data | 000's | 3dp | Required | 103.1025 | 103.1025 | Section 4.3
45.7AR | Measured household void properties | Input end of reporting year data | 000's | 3dp | Required | 4.3169 | 4.3169 | Section 4.3
46AR | Unmeasured household - properties (excl. voids) | Input end of reporting year data | 000's | 3dp | Required | 31.305 | 31.305 | Section 4.3
47AR | Unmeasured household void properties | Input end of reporting year data | 000's | 3dp | Required | 1.3142 | 1.3142 | Section 4.3
48AR | Total resource zone properties (inc voids) | End of reporting year data : Total non-household properties + total void non-household properties + total household properties + total void household properties | 000's | 3dp | Required | 149.0181 | 149.0181 | Section 4.3
Population
49AR | Measured non-household - population | Input end of reporting year data | 000's | 3dp | Required | 27.884 | 27.884 | Section 4.3
50AR | Unmeasured non-household - population | Input end of reporting year data | 000's | 3dp | Required | 3.887 | 3.887 | Section 4.3
51AR | Measured household - population | Input end of reporting year data | 000's | 3dp | Required | 264.331 | 264.331 | Section 4.3
52AR | Unmeasured household population | Input end of reporting year data | 000's | 3dp | Required | 90.519 | 90.519 | Section 4.3
53AR | Total resource zone population | End of reporting year data: Unmeasured and measured household population + Unmeasured and measured non-household population | 000's | 3dp | Required | 386.621 | 386.621 | Section 4.3
Metering
57AR | Total measured household metering penetration (incl. voids) | Outturn data: Measured household properties exc. voids / (measured household properties exc. voids + unmeasured household properties exc. voids) + measured and unmeasured household void properties) | % | 2dp | Required | 73.6243 | 73.6243 | Section 4.4
57.1AR | Total households with a meter installed | Input outturn data (See technical annex for guidance) | % | 2dp | Optional | 2.547 | 2.547 | Section 4.4
57.2AR | Total numbers of household meters installed | Input outturn data | 000's | 3dp | Required | 107.4194 | 107.4194 | Section 4.4
SUPPLY-DEMAND BALANCE
16AR | Target headroom | Input adjusted reporting year figure or DYAA WRMP value | Ml/d | 2dp | Required | 1.39 | 1.39 | Section 5.1
18AR | Observed supply-demand balance (in reporting year) | (Total WAFU - DI) - target headroom | Ml/d | 2dp | Required | -0.518 | -0.518 | Section 5.3
QA check 1 | Distribution input | 23AR + 24AR + 25AR + 26AR + 32AR + 33AR + 40AR |  |  |  | 0.0048497 | 0.0048497
QA check 2 | Water available for use (own sources) | 7AR - (9AR + 10AR) |  |  |  | -1.4211e-14 | -1.4211e-14
QA check 3 | Total WAFU | 12AR + (2.1AR + 3.1AR + 2.2AR + 3.2AR) - (5.2AR + 6.1AR + 5.3AR + 6.2AR) |  |  |  | 0 | 0
QA check 4 | Total outage | 10.1AR + 10.2AR |  |  |  | 0 | 0
QA check 5 | Total properties | 42AR + 43AR + 45AR + 45.7AR + 46AR + 47AR |  |  |  | 0 | 0
QA check 6 | Total population | 49AR + 50AR + 51AR + 52AR |  |  |  | 0 | 0
QA check 7 | Household metering | 42AR / (42AR + 43AR + 45.7AR + 47AR) |  |  |  | 0 | 0
QA check 8 | Average pcc | ((25AR + 26AR) * 1,000,000) / ((49AR + 50AR) * 1,000)) |  |  |  | 0 | 0
QA check 9 | Total leakage | 34AR + 35AR + 36AR + 37AR + 38AR + 39AR |  |  |  | 1.7764e-15 | 1.7764e-15
QA check 10 | Supply-demand balance | (13AR - 11AR) - 16AR |  |  |  | 0 | 0
Values returns as zero where calculated value equals input value
For volumetric metrics, QA value will show as red text where calculated value +/- 0.1 Ml/d from entered values.
For population and property QA, value will show as red text where calculated value is +/- 0.01 (10) difference from entered values
Note on G83: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: @Tibbetts, Joe do you happen to know why this QA test always tests red? I can't see an issue in the formula but was just curious.

## DYAA adjusted data template
WRMP ANNUAL REVIEW DATA TEMPLATE - WATER BALANCE COMPONENTS
Water company: | Cambridge Water
Number of resource zones: | 1
Year of data submission: | 2023/24
Reporting against WRMP: | WRMP19 (with leakage forecast updated using the Ofwat convergent methodology)
Scenario: | Dry year uplifted/adjusted
(Delete/insert columns appropriate to the number of resource zones)
Row numbering in line with WRMP structure | Component | Derivation and type of data | Units | DP | Data requirement | Resource zone 1 data | Water company total data | Page or section reference in AR narrative or report | Notes on data provided
SUPPLY
Resources
1AR | Raw water abstracted | Input outturn data | Ml/d | 2dp
2.1AR | Internal raw water imported (in the reporting year) | Input outturn data (Observed/recorded transfer volumes) | Ml/d | 2dp
3.1AR | Internal potable water imported (in the reporting year) | Input outturn data (Observed/recorded transfer volumes) | Ml/d | 2dp
5.2AR | Internal raw water exported (in the reporting year) | Input outturn data (Observed/recorded transfer volumes) | Ml/d | 2dp
6.1AR | Internal potable water exported (in the reporting year) | Input outturn data (Observed/recorded transfer volumes) | Ml/d | 2dp
2.2AR | External raw water imported (in the reporting year) | Input most challenging contractual volumes | Ml/d | 2dp
3.2AR | External potable water imported (in the reporting year) | Input most challenging contractual volumes | Ml/d | 2dp
5.3AR | External raw water exported (in the reporting year) | Input most challenging contractual volumes | Ml/d | 2dp
6.2AR | External potable water exported (in the reporting year) | Input most challenging contractual volumes | Ml/d | 2dp
5.1AR | Non potable water supplied | Input outturn data | Ml/d | 2dp
7AR | Deployable output (please include and reflect the changes to DO, the sum of 8.1, 8.2 and 8.3, in the WRMP19 tables) | Input dry year figure | Ml/d | 2dp | Required | 92.55 | 92.55 | Section 2.4 | Should be 1:200 design drought or other. SCs not taken off
12AR | Water Available For Use (own sources) | (Deployable Output + changes to DO) - (Treatment works losses and operational use + outage experienced). | Ml/d | 2dp | Required | 86.286 | 86.286 | Section 2.4
13AR | Total Water Available For Use | WAFU own sources + (total water imported) - (total water exported). Total WAFU is based on external transfers reported as maximum contractual volumes as stated in WRMP19 and internal transfers reported as outturn volumes. | Ml/d | 2dp | Required | 85.828 | 85.828 | Section 2.4
Process Losses
9AR | Raw water losses, treatment works losses and operational use | Input outturn data | Ml/d | 2dp | Required | 0.16 | 0.16 | Section 2.4 | as outturn. DYAA would likley be less as operational use retsricted
10AR | Total outage experienced | Input outturn data | Ml/d | 2dp | Required | 6.104 | 6.104 | Section 2.4 | outturn unplanned minus 20%, as would be less during DYAA
10.1AR | Unplanned outage | Input outturn data (10.1AR and 10.2AR should add together to make 10AR) | Ml/d | 2dp
10.2AR | Planned outage | Input outturn data (10.1AR and 10.2AR should add together to make 10AR) | Ml/d | 2dp
DEMAND
11AR | Distribution input (in reporting year) | Outturn data for: Total household and non-household consumption + water taken unbilled + distribution system operational losses + total leakage | Ml/d | 2dp | Required | 88.1144 | 88.1144 | Section 2.4 | 4.5% uplift average as per WRMP19
12.1AR | Non potable water demand/consumption | Input outturn data | Ml/d | 2dp
Consumption
23AR | Measured non household - consumption | Input outturn data | Ml/d | 2dp | Required | 29.0506 | 29.0506 | Section 2.4 | 4.5% uplift average as per WRMP19
24AR | Unmeasured non household - consumption | Input outturn data | Ml/d | 2dp | Required | 1.0775 | 1.0775 | Section 2.4 | 4.5% uplift average as per WRMP19
25AR | Measured household - consumption | Input outturn data | Ml/d | 2dp | Required | 30.9311 | 30.9311 | Section 2.4 | 4.5% uplift average as per WRMP19
26AR | Unmeasured household - consumption | Input outturn data | Ml/d | 2dp | Required | 13.3454 | 13.3454 | Section 2.4 | 4.5% uplift average as per WRMP19
29AR | Measured household - pcc | Outturn data: (Measured household consumption * 1,000,000) / (measured household population * 1,000) | l/h/d | 0dp | Required | 117.0164 | 117.0164 | Section 2.4 | 4.5% uplift average as per WRMP19
30AR | Unmeasured household - pcc | Outturn data: (Unmeasured household consumption * 1,000,000) / (Unmeasured household population * 1,000) | l/h/d | 0dp | Required | 147.4322 | 147.4322 | Section 2.4 | 4.5% uplift average as per WRMP19
31AR | Average household - pcc | Outturn data: (Measured and unmeasured household consumption * 1,000,000) / (measured and unmeasured household population * 1,000) | l/h/d | 0dp | Required | 124.7752 | 124.7752 | Section 2.4 | 4.5% uplift average as per WRMP19
32AR | Water taken unbilled | Input outturn data | Ml/d | 2dp | Required | 0.4496 | 0.4496 | Section 2.4 | 4.5% uplift average as per WRMP19
33AR | Distribution system operational use | Input outturn data | Ml/d | 2dp | Required | 0.4105 | 0.4105 | Section 2.4 | 4.5% uplift average as per WRMP19
Leakage
34AR | Measured non household - uspl | Input outturn data | Ml/d | 2dp
35AR | Unmeasured non-household - uspl | Input outturn data | Ml/d | 2dp
36AR | Measured household - uspl | Input outturn data | Ml/d | 2dp
37AR | Unmeasured household - uspl | Input outturn data | Ml/d | 2dp
38AR | Void properties - uspl | Input outturn data | Ml/d | 2dp
39AR | Distribution Losses | Input outturn data | Ml/d | 2dp | Required | 8.7923 | 8.7923 | Section 2.4 | 4.5% uplift average as per WRMP19
40AR | Total leakage | Outturn data: Total USPL + distribution losses | Ml/d | 2dp | Required | 12.8447 | 12.8447 | Section 2.4 | 4.5% uplift average as per WRMP19
CUSTOMERS
Properties
42AR | Measured non-household - properties | Input end of reporting year data | 000's | 3dp
43AR | Unmeasured non-household - properties | Input end of reporting year data | 000's | 3dp
44AR | Void non households - properties | Input end of reporting year data | 000's | 3dp
45AR | Measured household - properties (excl. voids) | Input end of reporting year data | 000's | 3dp
45.7AR | Measured household void properties | Input end of reporting year data | 000's | 3dp
46AR | Unmeasured household - properties (excl. voids) | Input end of reporting year data | 000's | 3dp
47AR | Unmeasured household void properties | Input end of reporting year data | 000's | 3dp
48AR | Total resource zone properties (inc voids) | End of reporting year data : Total non-household properties + total void non-household properties + total household properties + total void household properties | 000's | 3dp
Population
49AR | Measured non-household - population | Input end of reporting year data | 000's | 3dp
50AR | Unmeasured non-household - population | Input end of reporting year data | 000's | 3dp
51AR | Measured household - population | Input end of reporting year data | 000's | 3dp
52AR | Unmeasured household population | Input end of reporting year data | 000's | 3dp
53AR | Total resource zone population | End of reporting year data: Unmeasured and measured household population + Unmeasured and measured non-household population | 000's | 3dp
Metering
57AR | Total measured household metering penetration (incl. voids) | Outturn data: Measured household properties exc. voids / (measured household properties exc. voids + unmeasured household properties exc. voids) + measured and unmeasured household void properties) | % | 2dp
57.1AR | Total households with a meter installed | Input outturn data (See technical annex for guidance) | % | 2dp
57.2AR | Total numbers of household meters installed | Input outturn data | 000's | 3dp
SUPPLY-DEMAND BALANCE
16AR | Target headroom | Input adjusted reporting year figure or DYAA WRMP value | Ml/d | 2dp | Required | 1.39 | 1.39 | Section 2.4
18AR | Supply-demand balance (in reporting year) | (Total WAFU - DI) - target headroom | Ml/d | 2dp | Required | -3.6764 | -3.6764 | Section 2.4
QA check 1 | Distribution input | 23AR + 24AR + 25AR + 26AR + 32AR + 33AR + 40AR |  |  |  | 0.0050679 | 0.0050679
QA check 2 | Water available for use (own sources) | 7AR - (9AR + 10AR) |  |  |  | 0 | 0
QA check 10 | Supply-demand balance | (13AR - 11AR) - 16AR |  |  |  | 0 | 0
Values returns as zero where calculated value equals input value
For volumetric metrics, QA value will show as red text where calculated value +/- 0.1 Ml/d from entered values.
Note on B57: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Wording suggested to be in line with WRMP24 tables? But also highlights the un/measured household properties rows excludes voids?

## Scheme Delivery
WRMP19 Scheme delivery | [5 empty] | Latest forecast
| WRMP19 schemes |  |  |  |  | 2020-21 |  |  |  | 2021-22 |  |  |  | 2022-23 |  |  |  | 2023-24 |  |  |  | 2024-25
Scheme outcome description as per final published WRMP19 | Reference as per final published WRMP19 | WRZ | Benefits to be delivered (Ml/d) | Delivery date | Category | Benefits to be delivered (Ml/d) | Delivery date | Status | Further information | Benefits to be delivered (Ml/d) | Delivery date | Status | Further information | Benefits to be delivered (Ml/d) | Delivery date | Status | Further information | Benefits to be delivered (Ml/d) | Delivery date | Status | Further information | Benefits to be delivered (Ml/d) | Delivery date | Status | Further information
SIPW | CW4 | CAM | 1.62 |  | --select-- |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  | 0 |  | --select-- |  | 1.62 |  | Deferred
CRPW2 | CW5 | CAM | 0.4 |  | --select-- |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  | 0 |  | --select-- |  | 1.4 |  | On-track
KIPW2 | CW6 | CAM | 0.9 |  | --select-- |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  | 0 |  | --select-- |  | 0.9 |  | Deferred
DIST LOSS Leakage Bundle 020 | CAM_LEA_BUNDLE_020 | CAM |  |  | --select-- | 0.11263 |  | On-track |  | 0.19308 |  | On-track |  | 0.24439 |  | On-track |  | 0.47032 |  | On-track |  | 0.69392 |  | On-track
DIST LOSS Live network 2.0 | CAM_LEA_500b | CAM |  |  | --select-- | 0.16468 |  | On-track |  | 0.35436 |  | On-track |  | 0.57227 |  | On-track |  | 0.61248 |  | On-track |  | 0.65241 |  | On-track
MHH AMR enhanced free metering - Committed | CAM_DM_206A_Committed | CAM |  |  | --select-- | 0.087985 |  | On-track |  | 0.26537 |  | On-track |  | 0.43353 |  | On-track |  | 0.57529 |  | On-track |  | 0.71068 |  | On-track
MHH Water efficiency commitment 2.0 | CAM_DM_WEFF_2.0_Committed | CAM |  |  | --select-- | 0.42694 |  | On-track |  | 0.84411 |  | On-track |  | 1.2546 |  | On-track |  | 1.667 |  | On-track |  | 2.0812 |  | On-track
UMHH AMR enhanced free metering - Committed | CAM_DM_206A_Committed | CAM |  |  | --select-- | 0.11335 |  | On-track |  | 0.31618 |  | On-track |  | 0.50988 |  | On-track |  | 0.67724 |  | On-track |  | 0.83833 |  | On-track
UMHH Water efficiency commitment 2.0 | CAM_DM_WEFF_2.0_Committed | CAM |  |  | --select-- | 0.012214 |  | On-track |  | 0.03132 |  | On-track |  | 0.04846 |  | On-track |  | 0.063725 |  | On-track |  | 0.07723 |  | On-track
MNHH USPL Leakage Bundle 020 | CAM_LEA_BUNDLE_020 | CAM |  |  | --select-- | -0.0045843 |  | On-track |  | 0.0081032 |  | On-track |  | 0.01046 |  | On-track |  | 0.020527 |  | On-track |  | 0.030868 |  | On-track
MNHH USPL Live network 2.0 | CAM_LEA_500b | CAM |  |  | --select-- | 0.006703 |  | On-track |  | 0.014872 |  | On-track |  | 0.024493 |  | On-track |  | 0.026731 |  | On-track |  | 0.029022 |  | On-track
MHH USPLLeakage Bundle 020 | CAM_LEA_BUNDLE_020 | CAM |  |  | --select-- | 0.032209 |  | On-track |  | 0.057594 |  | On-track |  | 0.075167 |  | On-track |  | 0.14907 |  | On-track |  | 0.22641 |  | On-track
MHH USPL Live network 2.0 | CAM_LEA_500b | CAM |  |  | --select-- | 0.047095 |  | On-track |  | 0.1057 |  | On-track |  | 0.17602 |  | On-track |  | 0.19412 |  | On-track |  | 0.21287 |  | On-track
UMHH USPL Leakage Bundle 020 | CAM_LEA_BUNDLE_020 | CAM |  |  | --select-- | 0.011862 |  | On-track |  | 0.021347 |  | On-track |  | 0.026518 |  | On-track |  | 0.050105 |  | On-track |  | 0.072324 |  | On-track
UMHH USPL Live network 2.0 | CAM_LEA_500b | CAM |  |  | --select-- | 0.017344 |  | On-track |  | 0.039177 |  | On-track |  | 0.062096 |  | On-track |  | 0.065251 |  | On-track |  | 0.067998 |  | On-track
VOID Leakage Bundle 020 | CAM_LEA_BUNDLE_020 | CAM |  |  | --select-- | -0.00085172 |  | --select-- |  | 0.0014755 |  | --select-- |  | 0.0018731 |  | --select-- |  | 0.0036157 |  | --select-- |  | 0.0053548 |  | On-track
VOID Live network 2.0 | CAM_LEA_500b | CAM |  |  | --select-- | -0.0012454 |  | --select-- |  | 0.002708 |  | --select-- |  | 0.0043861 |  | --select-- |  | 0.0047086 |  | --select-- |  | 0.0050345 |  | On-track
|  | CAM |  |  | --select-- |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select--
|  | CAM |  |  | --select-- |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select--
|  | CAM |  |  | --select-- |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select--
|  | CAM |  |  | --select-- |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select--
|  | CAM |  |  | --select-- |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select--
[5 empty] | --select-- |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select--
[5 empty] | --select-- |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select--
[5 empty] | --select-- |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select--
[5 empty] | --select-- |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select--
[5 empty] | --select-- |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select--
| - |  |  |  | --select-- |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select--
[5 empty] | --select-- |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select--
[5 empty] | --select-- |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select--
[5 empty] | --select-- |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select--
[5 empty] | --select-- |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select--
| - |  |  |  | --select-- |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select--
[5 empty] | --select-- |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select--

## dropdowns (hidden)
Category (WRMP19) | Category (WRMP24) | Status
--select-- | --select-- | --select--
Supply-side 2020-25 | Supply-side 2025-30 | On-track
Demand-side 2020-25 | Demand-side 2025-30 | Deferred
Leakage 2020-25 | Leakage 2025-30 | Amended
Supply-side post 2024-25 | Supply-side post 2029-30 | Replaced
Internal interconnectors | Internal interconnectors | Other (explain in further information)
Metering | Metering
Other (explain in further information) | Other (explain in further information)